## Refrigerator Maintenance Log
NOTICE: This document is an example only. It must be revised to reflect your lab’s specific processes and/or specific protocol requirements.
Approved and current. Effective starting 25-Jan-2024. Last reviewed on 25-Jan-2024. RDP 201 (version 1.0). Laboratory Equipment Maintenance Log. Page 1 of 12
YOUR LAB NAME
REFRIGERATOR
DAILY TEMPERATURE AND PREVENTIVE MAINTENANCE
SERIAL #:_______
ACCEPTABLE RANGE: 2-8 °C
Model Number ______________________ |  |  |  | Month/Year_____________________
DAY | TEMPERATURE RECORD DAILY | DEFROST CLEAN SEMI ANNUALLY | PMI SEMI ANNUALLY | TECH INITIALS
1
2
3
4
5
6
7
8
9
10
11
12
13
14
15
16
17
18
19
20
21
22
23
24
25
26
27
28
29
30
31
COMMENTS:
REVIEWED BY: _______________________________ DATE:_______________
SECTION SUPERVISOR

## Freezer Maintenance Log
NOTICE: This document is an example only. It must be revised to reflect your lab’s specific processes and/or specific protocol requirements.
Approved and current. Effective starting 25-Jan-2024. Last reviewed on 25-Jan-2024. RDP 201 (version 1.0). Laboratory Equipment Maintenance Log. Page 2 of 12
YOUR LAB NAME
FREEZER
PREVENTIVE MAINTENANCE / QUALITY CONTROL
SERIAL #:_______
ACCEPTABLE RANGE: < - 20 °C
Model Number ______________________ |  |  |  | Month/Year_____________________
DAY | TEMPERATURE RECORD DAILY | DEFROST CLEAN SEMI ANNUALLY | PMI SEMI ANNUALLY | TECH INITIALS
1
2
3
4
5
6
7
8
9
10
11
12
13
14
15
16
17
18
19
20
21
22
23
24
25
26
27
28
29
30
31
COMMENTS:
REVIEWED BY: _______________________________ DATE:_______________
SECTION SUPERVISOR

## Balance Maintenance Log
NOTICE: This document is an example only. It must be revised to reflect your lab’s specific processes and/or specific protocol requirements.
Approved and current. Effective starting 25-Jan-2024. Last reviewed on 25-Jan-2024. RDP 201 (version 1.0). Laboratory Equipment Maintenance Log. Page 3 of 12
Laboratory Name
Balance Maintenance
Year____________________________ Month _______________________
Instrument Make and Model: ____________________________
Date | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | 17 | 18 | 19 | 20 | 21 | 22 | 23 | 24 | 25 | 26 | 27 | 28 | 29 | 30 | 31
Start Up
Clean the balance
Auto Calibration
Daily Calibration
Shut Down
Tech Initials
Quarterly Maintenance |  |  |  | Due Date:_________________________ | [10 empty] | Done Date:________________________
Yearly Service |  |  |  | Due Date:_________________________ | [10 empty] | Done Date:________________________
Corrective Action
Date
Key | NIU |  |  | Not in use
|  | Reviewed By ______________________________ | [9 empty] | Date __________________

## Heating Block
NOTICE: This document is an example only. It must be revised to reflect your lab’s specific processes and/or specific protocol requirements.
Approved and current. Effective starting 25-Jan-2024. Last reviewed on 25-Jan-2024. RDP 201 (version 1.0). Laboratory Equipment Maintenance Log. Page 4 of 12
Lab Name
Heating Block Maintenance Log
Month_____________________ | [9 empty] | Year________________ | [9 empty] | Serial Number ____________________
Date | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | 17 | 18 | 19 | 20 | 21 | 22 | 23 | 24 | 25 | 26 | 27 | 28 | 29 | 30 | 31
Temperature
Clean
Cord Check
Initials
Acceptable Temperature Range | [15 empty] | Reviewed by______________________________
Date: | Corrective Action
KEY | NIU- Not in use

## Microscope Log
NOTICE: This document is an example only. It must be revised to reflect your lab’s specific processes and/or specific protocol requirements.
Approved and current. Effective starting 25-Jan-2024. Last reviewed on 25-Jan-2024. RDP 201 (version 1.0). Laboratory Equipment Maintenance Log. Page 5 of 12
Lab Name
Microscope Maintenance Log
Month_____________________ | [9 empty] | Year________________ | [10 empty] | Serial Number________________
Date | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | 17 | 18 | 19 | 20 | 21 | 22 | 23 | 24 | 25 | 26 | 27 | 28 | 29 | 30 | 31
Cleaned
Initials
Service due date:_______________________________ | [15 empty] | Serviced date:_____________________________
Reviewed by______________________________
Date: | Corrective Action
Key | NIU |  |  | Not in use

## Temperature Monitoring
NOTICE: This document is an example only. It must be revised to reflect your lab’s specific processes and/or specific protocol requirements.
Approved and current. Effective starting 25-Jan-2024. Last reviewed on 25-Jan-2024. RDP 201 (version 1.0). Laboratory Equipment Maintenance Log. Page 6 of 12
Lab Name
Temperature Monitoring
Name of Equipment
Month_____________________ | [9 empty] | Year________________ | [9 empty] | Serial Number___________________
Date | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | 17 | 18 | 19 | 20 | 21 | 22 | 23 | 24 | 25 | 26 | 27 | 28 | 29 | 30 | 31
Max (°C)
Min (°C)
Humidity (%)
Initials
Reviewed by______________________________
Acceptable Temperature Range
Date: | Corrective Action

## Anaerobic Chamber Log
NOTICE: This document is an example only. It must be revised to reflect your lab’s specific processes and/or specific protocol requirements.
Approved and current. Effective starting 25-Jan-2024. Last reviewed on 25-Jan-2024. RDP 201 (version 1.0). Laboratory Equipment Maintenance Log. Page 7 of 12
Lab Name
Anaerobic Chamber Maintenance Log
Month_____________________ | [9 empty] | Year________________ | [9 empty] | Serial Number ____________________
Date | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | 17 | 18 | 19 | 20 | 21 | 22 | 23 | 24 | 25 | 26 | 27 | 28 | 29 | 30 | 31
Temperature
Pressure
Cleaning
Catalyst Changed
Initials
Acceptable Gas PressureRange
Acceptable Temperature Range | [15 empty] | Reviewed by______________________________
Date: | Corrective Action

## Oven Maintenance Log
NOTICE: This document is an example only. It must be revised to reflect your lab’s specific processes and/or specific protocol requirements.
Approved and current. Effective starting 25-Jan-2024. Last reviewed on 25-Jan-2024. RDP 201 (version 1.0). Laboratory Equipment Maintenance Log. Page 8 of 12
Lab Name
Oven Maintenance Log
Month_____________________ | [9 empty] | Year________________ | [10 empty] | Serial Number________________
Date | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | 17 | 18 | 19 | 20 | 21 | 22 | 23 | 24 | 25 | 26 | 27 | 28 | 29 | 30 | 31
Temperature
Cleaning as needed
Initials
Reviewed by______________________________
Acceptable Temperature Range
Date: | Corrective Action
Key | NIU |  |  | Not in use

## Autoclave Maintenance Log
NOTICE: This document is an example only. It must be revised to reflect your lab’s specific processes and/or specific protocol requirements.
Approved and current. Effective starting 25-Jan-2024. Last reviewed on 25-Jan-2024. RDP 201 (version 1.0). Laboratory Equipment Maintenance Log. Page 9 of 12
Lab Name
Autoclave Maintenance Log
Month_____________________ |  |  |  | Year________________ |  |  | Serial #
Weekly Sterility Check |  |  |  |  | Quarterly Service Check
| Date | Initials |  |  | Date | Initals
Week 1
Week 2
Week 3 |  |  |  |  | Monthly Cleaning
Week 4 |  |  |  |  | Date | Initials
Date: | Corrective Action
Reviewed by and date |  |  | ______________________________________________________

## Water Bath Log
NOTICE: This document is an example only. It must be revised to reflect your lab’s specific processes and/or specific protocol requirements.
Approved and current. Effective starting 25-Jan-2024. Last reviewed on 25-Jan-2024. RDP 201 (version 1.0). Laboratory Equipment Maintenance Log. Page 10 of 12
Lab Name
Water Bath Maintenance Log
Month_____________________ | [9 empty] | Year________________ | [10 empty] | Serial Number________________
Date | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | 17 | 18 | 19 | 20 | 21 | 22 | 23 | 24 | 25 | 26 | 27 | 28 | 29 | 30 | 31
Temperature
Initials
Monthly Cleaning Due: | [15 empty] | Cleaned date:_____________________________
Acceptable Temperature Range | [15 empty] | Reviewed by______________________________
Date: | Corrective Action
Key | NIU |  |  | Not in use

## Carbon Dioxide Incubator log
NOTICE: This document is an example only. It must be revised to reflect your lab’s specific processes and/or specific protocol requirements.
Approved and current. Effective starting 25-Jan-2024. Last reviewed on 25-Jan-2024. RDP 201 (version 1.0). Laboratory Equipment Maintenance Log. Page 11 of 12
Lab Name
Carbon Dioxide Maintenance Log
Month_____________________ | [9 empty] | Year________________ | [10 empty] | Serial Number________________
Date | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | 17 | 18 | 19 | 20 | 21 | 22 | 23 | 24 | 25 | 26 | 27 | 28 | 29 | 30 | 31
CO2 Level
Temperature
Initials
Acceptable CO2 Level Range | [15 empty] | Reviewed by______________________________
Acceptable Temperature Range
Date: | Corrective Action
Key | NIU |  |  | Not in use

## Centrifuge Log
NOTICE: This document is an example only. It must be revised to reflect your lab’s specific processes and/or specific protocol requirements.
Approved and current. Effective starting 25-Jan-2024. Last reviewed on 25-Jan-2024. RDP 201 (version 1.0). Laboratory Equipment Maintenance Log. Page 12 of 12
Lab Name
Centrifuge Maintenance Log
Month_____________________ | [9 empty] | Year________________ | [10 empty] | Serial Number________________
Date | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | 17 | 18 | 19 | 20 | 21 | 22 | 23 | 24 | 25 | 26 | 27 | 28 | 29 | 30 | 31
Cleaned
Initials
PMI Date
Calibration due date | [15 empty] | Reviewed by______________________________
Calibration Done
Date: | Corrective Action
Key | NIU |  |  | Not in use