## Example
NOTICE: This document is an example only. It must be revised to reflect your lab’s specific processes and/or specific protocol requirements.
Approved and current. Effective starting 05-Feb-2024. Last reviewed on 05-Feb-2024. RDP 208 (version 1.0). Correlation Testing Worksheet. Page 1 of 1
Correlation Worksheet
Analyte | Instrument 1: | [7 empty] | Location:
| Reagent Lot #: |  |  |  | Exp: |  |  |  | Calibrator Lot #: |  |  | Exp:
| Instrument 2: | [7 empty] | Location:
| Reagent Lot #: |  |  |  | Exp: |  |  |  | Calibrator Lot #: |  |  | Exp:
Date | Instrument #1 |  |  |  | Instrument #2 |  |  |  | Grand Mean (Mean of all samples) | % Difference (Δ) | Cumulative CV of closest control | %Δ/CV Ratio | Evaluation (≤ 3.0) | Tech | Supervisor
| Sample Run #1 | Sample Run #2 | Sample Run #3 | Mean | Sample Run #1 | Sample Run #2 | Sample Run #3 | Mean
2024-01-01 | 23 | 24 | 25 | 24 | 50 | 52 | 54 | 52 | 38 | 116.6667 | 3.5 | 33.3333 | Unacceptable | AB | CD
2024-01-01 | 33 | 37 | 40 | 36.6667 | 42 | 40 | 39 | 40.3333 | 38.5 | 10 | 3.5 | 2.8571 | Acceptable | AB | CD