## LIS Validation
NOTICE: This document is an example only. It must be revised to reflect your lab’s specific processes and/or specific protocol requirements.
Approved and current. Effective starting 18-Mar-2024. Last reviewed on 18-Mar-2024. RDP 1001 (version 1.0). Example LIS Validation and Approval Report. Page 1 of 1
LIS Validation and Approval Report
| LIS Name and Version: | [5 empty] | Indicate Validation Type (place X in correct box below)
[7 empty] | Initial: |  |  | System Change:
| Tech: | [5 empty] | Error: |  |  | Annual Calc.
| Date: | [5 empty] | Other:
1. | Protocol Analytes and Methods
| Instrument/Method: |  | Sysmex (Primary) |  |  |  |  | Roche Hitachi 912 (Primary)
| Analyte: |  | WBC | RBC | HGB | HCT | ANC | ALT | AST | Chol | HDL | Creat
| Critical Cutoff | High
Low:
Tech Initials:
| Instrument/Method: |  | Act5 Diff (Back-up) |  |  |  |  | Roche Hitachi 911 (Back-up)
| Analyte: |  | WBC | RBC | HGB | HCT | ANC | ALT | AST | Chol | HDL | Creat
| Critical Cutoff | High
Low:
Tech Initials:
2. | The LIS reports for each of the parameters identified above were verified for accuracy and documentation is attached with the following: patient identification, specimen collection date and time, name of test, test result, units, reference range and critical flags. (insert initials to confirm)
3. | Calculation Verification
The following protocol analyte results are calcuated by the LIS:
| Creatinine Clearance |  |  | Female Calculation: |  |  | [(140- Age)(weight x 1.2 x 0.85)]/Serum Creatinine
| Serum Creat. |  |  | Male Calculation: |  |  | [(140- Age)(weight x 1.2)]/Serum Creatinine
Sex
Age
Weight
| LIS Result: |  |  | Manually Calculated Result:
Difference:
| Acceptable Difference: |  |  | ± 0.5
| LIS Calculation Acceptable: |  |  | (Yes or No)
4. | Amended LIS report verified for:
| Original data present and identified: |  |  |  |  | (Yes or No)
| Revised data present and identified: |  |  |  |  | (Yes or No)
| Multiple corrections in sequential order: |  |  |  |  | (Yes or No)
5. | Notes: All documentation is attached. Refer to the LIS Validation SOP# [insert your SOP Number and version] for instructions.
6. | Comments:
7. | Approval
| Name |  | Title |  |  |  | Signature |  |  |  | Date