## GLU 1
NOTICE: This document is an example only. It must be revised to reflect your lab’s specific processes and/or specific protocol requirements.
Approved and current. Effective starting 06-Sep-2023. Last reviewed on 06-Sep-2023. RDP 403 (version 1.0). Levey Jennings Chart_Example. Page 1 of 1
Quality Control Data-Levey Jennings Chart
Month | October |  |  |  |  | Assay Performance for this period |  |  |  | Expected Performance
Year | 2023 | [8 empty] | (obtained from published data)
Instrument / SN | Olympus AU 400 / OL456 |  |  |  |  | % CV | 3.0971 |  |  | %CV | 5
Analyte / Units | Glucose / mg/dL |  |  |  |  | Mean | 84.5833
QC Product | BIO RAD |  |  |  |  | SD | 2.6196 |  |  | SD | 1.5
Level | 1
Lot# | 14121
Expiry | 2024-02-07
Manufacturer Mean | 84
Manufacturer Range | 72.0 - 96.0
DATA SHEET
RUN | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | 17 | 18 | 19 | 20 | 21 | 22 | 23 | 24 | 25 | 26 | 27 | 28 | 29 | 30 | 31 | 32 | 33 | 34 | 35 | 36 | 37 | 38 | 39 | 40
3SD | 96 | 96 | 96 | 96 | 96 | 96 | 96 | 96 | 96 | 96 | 96 | 96 | 96 | 96 | 96 | 96 | 96 | 96 | 96 | 96 | 96 | 96 | 96 | 96 | 96 | 96 | 96 | 96 | 96 | 96 | 96 | 96 | 96 | 96 | 96 | 96 | 96 | 96 | 96 | 96
2SD | 92 | 92 | 92 | 92 | 92 | 92 | 92 | 92 | 92 | 92 | 92 | 92 | 92 | 92 | 92 | 92 | 92 | 92 | 92 | 92 | 92 | 92 | 92 | 92 | 92 | 92 | 92 | 92 | 92 | 92 | 92 | 92 | 92 | 92 | 92 | 92 | 92 | 92 | 92 | 92
1SD | 88 | 88 | 88 | 88 | 88 | 88 | 88 | 88 | 88 | 88 | 88 | 88 | 88 | 88 | 88 | 88 | 88 | 88 | 88 | 88 | 88 | 88 | 88 | 88 | 88 | 88 | 88 | 88 | 88 | 88 | 88 | 88 | 88 | 88 | 88 | 88 | 88 | 88 | 88 | 88
Mean | 84 | 84 | 84 | 84 | 84 | 84 | 84 | 84 | 84 | 84 | 84 | 84 | 84 | 84 | 84 | 84 | 84 | 84 | 84 | 84 | 84 | 84 | 84 | 84 | 84 | 84 | 84 | 84 | 84 | 84 | 84 | 84 | 84 | 84 | 84 | 84 | 84 | 84 | 84 | 84
1SD | 80 | 80 | 80 | 80 | 80 | 80 | 80 | 80 | 80 | 80 | 80 | 80 | 80 | 80 | 80 | 80 | 80 | 80 | 80 | 80 | 80 | 80 | 80 | 80 | 80 | 80 | 80 | 80 | 80 | 80 | 80 | 80 | 80 | 80 | 80 | 80 | 80 | 80 | 80 | 80
2SD | 76 | 76 | 76 | 76 | 76 | 76 | 76 | 76 | 76 | 76 | 76 | 76 | 76 | 76 | 76 | 76 | 76 | 76 | 76 | 76 | 76 | 76 | 76 | 76 | 76 | 76 | 76 | 76 | 76 | 76 | 76 | 76 | 76 | 76 | 76 | 76 | 76 | 76 | 76 | 76
3SD | 72 | 72 | 72 | 72 | 72 | 72 | 72 | 72 | 72 | 72 | 72 | 72 | 72 | 72 | 72 | 72 | 72 | 72 | 72 | 72 | 72 | 72 | 72 | 72 | 72 | 72 | 72 | 72 | 72 | 72 | 72 | 72 | 72 | 72 | 72 | 72 | 72 | 72 | 72 | 72
QC Result | 85 | 86 | 85 | 84 | 86 | 85 | 84 | 90 | 84 | 86 | 83 | 84 | 82 | 83 | 75 | 85 | 85 | 87 | 85 | 85 | 83 | 87 | 86 | 85
Day of Run | 2023-10-02 | 2023-10-03 | 2023-10-04 | 2023-10-05 | 2023-10-06 | 2023-10-07 | 2023-10-08 | 2023-10-09 | 2023-10-10 | 2023-10-11 | 2023-10-12 | 2023-10-13 | 2023-10-14 | 2023-10-15 | 2023-10-16 | 2023-10-17 | 2023-10-18 | 2023-10-19 | 2023-10-20 | 2023-10-21 | 2023-10-22 | 2023-10-23 | 2023-10-24 | 2023-10-25
Time of Run | 10:39 | 10:11 | 10:22 | 9:10 | 10:09 | 9:22 | 12:15 | 12:12 | 8:56 | 8:46 | 8:47 | 10:05 | 9:25 | 9:21 | 9:15 | 9:35 | 11:54 | 9:45 | 10:24 | 10:58 | 10:26 | 10:46 | 10:46 | 10:13
Technologist | bar: 2023-10-02 to 2023-10-25
COMMENTS
10/16: 1-2S, No Rules Broken (AL)