## Instructions
NOTICE: This document is an example only. It must be revised to reflect your lab’s specific processes and/or specific protocol requirements.
Approved and current. Effective starting 29-May-2026. Last reviewed on 29-May-2026. VAL 2002 (version 2.0). Quantitative Accuracy Pack. Page 1 of 4
Instructions: Note: The ideal number of samples is 40, however a minimum of 20 samples that cover the reportable range of the method and include points near the medical decision points, if possible, is acceptable. Method Comparison: 1. Plot the reference method on the X axis and the method being validated on the Y axis. 2. Enter the Allowable Total Error (TEa) concentration and percent. Refer to pSMILE Chemistry (EQA 1380a), Coagulation (EQA 1380b) or Hematology (EQA 1380c) TEa Limits table. 3. Enter the results for the reference (X) and the new (Y) methods. 4. Evaluate the statistics. 5. If R value is <0.975, Data does not extend over acceptable range. More data must be evaluated over larger range. 6. The correlation coefficient (R) must be >0.975. 7. 95% of the data points from the comparative method must be within Total Allowable Error limits of the reference method. This can be evaluated by calculating the "Error Index" Error Index: to measure the difference between the two methods as a ratio of the Total Allowable Error. 1. Using the Method Comparison spreadsheet tab the Error Index can be calculated by subtracting the reference method data point (X) from the method being validated data point (Y) and dividing by the Total Allowable Error (TEa). The equation is: (Y-X)/TEa. 2. Use the percent TEa or the minimum detectable difference (absolute TEa), whichever is greater. 3. The absolute TEa value is calculated by converting the TEa percentage to a decimal and multiplying by the reference method data point. 4. The Error Index is measured for each X-Y pair, and must fall within -1 and 1. If more than 5% of the specimens have an Error Index of less than -1 or greater than 1, the accuracy experiment fails 5. If 95% of Error Indices are acceptable, Accuracy is acceptable. Proceed with Linearity experiments.

## Method Comparison 20 Samples
NOTICE: This document is an example only. It must be revised to reflect your lab’s specific processes and/or specific protocol requirements.
Approved and current. Effective starting 29-May-2026. Last reviewed on 29-May-2026. VAL 2002 (version 2.0). Quantitative Accuracy Pack. Page 2 of 4
Quantitative Method Comparison
| Method being evaluated (Y): | [6 empty] | Date:
| Reference Method (X): | [6 empty] | Total Allowable Error (TEa):
|  |  | Analyte: |  |  |  |  | Conc. | Pct.
Units:
#DIV/0!
Spec# | X | Y | Δ | Error Index | High lmt | Low lmt | Grade
1 |  |  | 0 | #DIV/0! | 0 | 0 | #DIV/0!
2 |  |  | 0 | #DIV/0! | 0 | 0 | #DIV/0!
3 |  |  | 0 | #DIV/0! | 0 | 0 | #DIV/0!
4 |  |  | 0 | #DIV/0! | 0 | 0 | #DIV/0!
5 |  |  | 0 | #DIV/0! | 0 | 0 | #DIV/0!
6 |  |  | 0 | #DIV/0! | 0 | 0 | #DIV/0!
7 |  |  | 0 | #DIV/0! | 0 | 0 | #DIV/0!
8 |  |  | 0 | #DIV/0! | 0 | 0 | #DIV/0!
9 |  |  | 0 | #DIV/0! | 0 | 0 | #DIV/0!
10 |  |  | 0 | #DIV/0! | 0 | 0 | #DIV/0!
11 |  |  | 0 | #DIV/0! | 0 | 0 | #DIV/0!
12 |  |  | 0 | #DIV/0! | 0 | 0 | #DIV/0!
13 |  |  | 0 | #DIV/0! | 0 | 0 | #DIV/0!
14 |  |  | 0 | #DIV/0! | 0 | 0 | #DIV/0!
15 |  |  | 0 | #DIV/0! | 0 | 0 | #DIV/0!
16 |  |  | 0 | #DIV/0! | 0 | 0 | #DIV/0!
17 |  |  | 0 | #DIV/0! | 0 | 0 | #DIV/0!
18 |  |  | 0 | #DIV/0! | 0 | 0 | #DIV/0!
19 |  |  | 0 | #DIV/0! | 0 | 0 | #DIV/0!
20 |  |  | 0 | #DIV/0! | 0 | 0 | #DIV/0!
Mean | #DIV/0! | #DIV/0! | 0 | #DIV/0! |  |  | #DIV/0!
Min | 0 | 0 | 0 | #DIV/0! | #DIV/0!
Max | 0 | 0 | 0 | #DIV/0!
Slope |  | #DIV/0!
Intercept |  | #DIV/0!
Correl. Coef. (R) |  | #DIV/0! | #DIV/0!

## Method Comparison 40 Samples
NOTICE: This document is an example only. It must be revised to reflect your lab’s specific processes and/or specific protocol requirements.
Approved and current. Effective starting 29-May-2026. Last reviewed on 29-May-2026. VAL 2002 (version 2.0). Quantitative Accuracy Pack. Page 3 of 4
Quantitative Method Comparison
| Method being evaluated (Y): | [6 empty] | Date:
| Reference Method (X): | [6 empty] | Total Allowable Error (TEa):
|  |  | Analyte: |  |  |  |  | Conc. | Pct.
Units:
#DIV/0!
Spec# | X | Y | Δ | Error Index | High Limit | Low Limit | Grade
1 |  |  | 0 | #DIV/0! | 0 | 0 | #DIV/0!
2 |  |  | 0 | #DIV/0! | 0 | 0 | #DIV/0!
3 |  |  | 0 | #DIV/0! | 0 | 0 | #DIV/0!
4 |  |  | 0 | #DIV/0! | 0 | 0 | #DIV/0!
5 |  |  | 0 | #DIV/0! | 0 | 0 | #DIV/0!
6 |  |  | 0 | #DIV/0! | 0 | 0 | #DIV/0!
7 |  |  | 0 | #DIV/0! | 0 | 0 | #DIV/0!
8 |  |  | 0 | #DIV/0! | 0 | 0 | #DIV/0!
9 |  |  | 0 | #DIV/0! | 0 | 0 | #DIV/0!
10 |  |  | 0 | #DIV/0! | 0 | 0 | #DIV/0!
11 |  |  | 0 | #DIV/0! | 0 | 0 | #DIV/0!
12 |  |  | 0 | #DIV/0! | 0 | 0 | #DIV/0!
13 |  |  | 0 | #DIV/0! | 0 | 0 | #DIV/0!
14 |  |  | 0 | #DIV/0! | 0 | 0 | #DIV/0!
15 |  |  | 0 | #DIV/0! | 0 | 0 | #DIV/0!
16 |  |  | 0 | #DIV/0! | 0 | 0 | #DIV/0!
17 |  |  | 0 | #DIV/0! | 0 | 0 | #DIV/0!
18 |  |  | 0 | #DIV/0! | 0 | 0 | #DIV/0!
19 |  |  | 0 | #DIV/0! | 0 | 0 | #DIV/0!
20 |  |  | 0 | #DIV/0! | 0 | 0 | #DIV/0!
21 |  |  | 0 | #DIV/0! | 0 | 0 | #DIV/0!
22 |  |  | 0 | #DIV/0! | 0 | 0 | #DIV/0!
23 |  |  | 0 | #DIV/0! | 0 | 0 | #DIV/0!
24 |  |  | 0 | #DIV/0! | 0 | 0 | #DIV/0!
25 |  |  | 0 | #DIV/0! | 0 | 0 | #DIV/0!
26 |  |  | 0 | #DIV/0! | 0 | 0 | #DIV/0!
27 |  |  | 0 | #DIV/0! | 0 | 0 | #DIV/0!
28 |  |  | 0 | #DIV/0! | 0 | 0 | #DIV/0!
29 |  |  | 0 | #DIV/0! | 0 | 0 | #DIV/0!
30 |  |  | 0 | #DIV/0! | 0 | 0 | #DIV/0!
31 |  |  | 0 | #DIV/0! | 0 | 0 | #DIV/0!
32 |  |  | 0 | #DIV/0! | 0 | 0 | #DIV/0!
33 |  |  | 0 | #DIV/0! | 0 | 0 | #DIV/0!
34 |  |  | 0 | #DIV/0! | 0 | 0 | #DIV/0!
35 |  |  | 0 | #DIV/0! | 0 | 0 | #DIV/0!
36 |  |  | 0 | #DIV/0! | 0 | 0 | #DIV/0!
37 |  |  | 0 | #DIV/0! | 0 | 0 | #DIV/0!
38 |  |  | 0 | #DIV/0! | 0 | 0 | #DIV/0!
39 |  |  | 0 | #DIV/0! | 0 | 0 | #DIV/0!
40 |  |  | 0 | #DIV/0! | 0 | 0 | #DIV/0!
Mean | #DIV/0! | #DIV/0! | 0 | #DIV/0! |  |  | #DIV/0!
Min | 0 | 0 | 0 | #DIV/0! | #DIV/0!
Max | 0 | 0 | 0 | #DIV/0!
Slope |  | #DIV/0!
Intercept |  | #DIV/0!
Correl. Coef. (R) |  | #DIV/0! | #DIV/0!

## Alt Method Comparison (hidden)
NOTICE: This document is an example only. It must be revised to reflect your lab’s specific processes and/or specific protocol requirements.
Approved and current. Effective starting 29-May-2026. Last reviewed on 29-May-2026. VAL 2002 (version 2.0). Quantitative Accuracy Pack. Page 4 of 4
NOTICE: This document is an example only. It must be revised to reflect your lab’s specific processes and/or specific protocol requirements.
Approved and current. Effective starting 12-Jun-2023. Last reviewed on 28-May-2025. VAL 2002 (version 1.1). Quantitative Accuracy Pack. Page 3 of 3
[6 empty] | Alternate (Quantitative) Method Comparison | [10 empty] | #DIV/0!
#DIV/0!
#DIV/0!
[6 empty] | Method being evaluated: |  |  | 0 |  |  |  |  | Date: | 0 |  | #DIV/0!
[7 empty] | Reference Method: |  | 0 |  |  |  |  | Total Allowable Error (TEa): |  |  | #DIV/0!
[8 empty] | Analyte: | 0 |  |  |  |  | Conc. | Pct. |  | #DIV/0!
[8 empty] | Units: | Units not entered |  |  |  |  | 0 | 0 |  | #DIV/0!
#DIV/0!
Spec# | X | Y | ∆ | ((Y-X)-Bias)^2 | [12 empty] | #DIV/0!
1 | 0 | 0 | 0 | 0 | 0 | [11 empty] | #DIV/0!
2 | 0 | 0 | 0 | 0 | 0 | [11 empty] | #DIV/0!
3 | 0 | 0 | 0 | 0 | 0 | [11 empty] | #DIV/0!
4 | 0 | 0 | 0 | 0 | 0 | [11 empty] | #DIV/0!
5 | 0 | 0 | 0 | 0 | 0 |  | 0 | #DIV/0! | [8 empty] | #DIV/0!
6 | 0 | 0 | 0 | 0 | 0 |  | 0 | 0 | [8 empty] | #DIV/0!
7 | 0 | 0 | 0 | 0 | 0 | [11 empty] | #DIV/0!
8 | 0 | 0 | 0 | 0 | 0 | [11 empty] | #DIV/0!
9 | 0 | 0 | 0 | 0 | 0 | [11 empty] | #DIV/0!
10 | 0 | 0 | 0 | 0 | 0 | [11 empty] | #DIV/0!
11 | 0 | 0 | 0 | 0 | 0 | [11 empty] | #DIV/0!
12 | 0 | 0 | 0 | 0 | 0
13 | 0 | 0 | 0 | 0 | 0
14 | 0 | 0 | 0 | 0 | 0
15 | 0 | 0 | 0 | 0 | 0 |  | X Method |  | Y Method |  |  | 95% Conf. Limits |  |  |  | Grade
16 | 0 | 0 | 0 | 0 | 0 |  | MDP |  | Pred. MDP |  |  | Low |  | High
17 | 0 | 0 | 0 | 0 | 0 | 0 |  |  | #DIV/0! |  |  | - |  | - |  | #VALUE!
18 | 0 | 0 | 0 | 0 | 0 | 0 |  |  | #DIV/0! |  |  | - |  | - |  | #VALUE!
19 | 0 | 0 | 0 | 0 | 0 | 0 |  |  | #DIV/0! |  |  | - |  | - |  | #VALUE!
20 | 0 | 0 | 0 | 0 | 0 | 0 |  |  | #DIV/0! |  |  | - |  | - |  | #VALUE!
Mean | 0 | 0 | 0 | 0 | 0 | 0 |  |  | #DIV/0! |  |  | - |  | - |  | #VALUE!
SD | 0 | 0 | 0 |  |  | 0
Bias |  |  | 0 | 0
0
Regression Statistics
[8 empty] | Slope | #DIV/0! | ± | 0 |  | 0 | 0
| Interc? | 0 | [5 empty] | Intercept | #DIV/0! | ± | 0 |  | 0 | 0
| 0 | 0 | [5 empty] | Std Err Est | #DIV/0! |  |  |  | 1 | 0
| 0 | 0 | [5 empty] | slope err | 0 |  |  |  | #NUM! | 18
| 0 | 0 |  |  |  |  | Correl Coef (R): |  | #DIV/0! |  |  |  | 0 | 0
| 0 | 0 |  |  |  |  | Bias: |  | 0
| 0 | 0 |  |  |  |  | X Mean ± SD: |  | 0 | ± | 0
| 0 | 0 |  |  |  |  | Y Mean ± SD: |  | 0 | ± | 0
| 0 | 0 |  |  |  |  | Std Dev Diffs: |  | 0
| 0 | 0
| 0 | 0
| 0 | 0
| 0 | 0
| 0 | 0
| 0 | 0
| 0 | 0
| 0 | 0
| 0 | 0
| 0 | 0
| 0 | 0
| 0 | 0
| 0 | 0
| 0 | 0