## Geometric Mean
NOTICE: This document is an example only. It must be revised to reflect your lab’s specific processes and/or specific protocol requirements.
Approved and current. Effective starting 13-Jun-2023. Last reviewed on 18-Jun-2025. VAL 2010 (version 1.0). INR Calculator Worksheet. Page 1 of 2
Geometric Mean
| Samples | PT Results
1
2
3
4
5
6
7
8
9
10
11
12
13
14
15
16
17
18
19
20
| GeoMean | #NUM!
Note:
1. Enter Prothrombin Time (PT) results
2. Geometric Mean will automatically be calculated

## INR Ver Calc
NOTICE: This document is an example only. It must be revised to reflect your lab’s specific processes and/or specific protocol requirements.
Approved and current. Effective starting 13-Jun-2023. Last reviewed on 18-Jun-2025. VAL 2010 (version 1.0). INR Calculator Worksheet. Page 2 of 2
INR Verification Calculator
Instrument Name and Serial Number
PT Reagent Name and Lot Number
PT Reagent Expiration Date
INR Certified Plasma Name and Lot Number
INR Certified Plasma Expiration Date:
Day 1
Results
| Rep 1 | Rep 2 | Avg
Sample 1 |  |  | #DIV/0!
Sample 2 |  |  | #DIV/0!
Sample 3 |  |  | #DIV/0!
Sample 4 |  |  | #DIV/0! | `
Sample 5 |  |  | #DIV/0!
Day 2
Results
| Rep 1 | Rep 2 | Avg
Sample 1 |  |  | #DIV/0!
Sample 2 |  |  | #DIV/0!
Sample 3 |  |  | #DIV/0!
Sample 4 |  |  | #DIV/0!
Sample 5 |  |  | #DIV/0!
Day 3
Results
| Rep 1 | Rep 2 | Avg
Sample 1 |  |  | #DIV/0!
Sample 2 |  |  | #DIV/0!
Sample 3 |  |  | #DIV/0!
Sample 4 |  |  | #DIV/0!
Sample 5 |  |  | #DIV/0!
Average for all Results
| Day 1 | Day 2 | Day 3 | Avg
Sample 1 |  |  |  | #DIV/0!
Sample 2 |  |  |  | #DIV/0!
Sample 3 |  |  |  | #DIV/0!
Sample 4 |  |  |  | #DIV/0!
Sample 5 |  |  |  | #DIV/0!
| Calculated INR | Expected INR | Expected Range Lower Upper |  | Acceptable Yes/No
Sample 1 |  |  | 0 | 0 | No
Sample 2 |  |  | 0 | 0 | No
Sample 3 |  |  | 0 | 0 | No
Sample 4 |  |  | 0 | 0 | No
Sample 5 |  |  | 0 | 0 | No
Note:
1. Calculated INR is the INR calculated using the geometric mean and ISI of the reagent.
2. Expected INR should be included in the package insert of the verification kit.
3. Expected range is calculated from the Expected INR of each sample +/- 15%. If acceptable criteria is different, use criteria for the kit.